## Consolidated guidelines
R | AC | Concept | MIACA | MIAME/Env | MIAME/Nutr | MIAPE | MIFlowCyt | MISFISHIE
1 | MI:010 | study design | Project: Description (text) of the project within a larger context (biological process that is addressed; description of measured effect, controls, etc.). Application: Description (text) of the specific application of this project (abstract; reference to publication). Treatment(s): Description of the conditions that are applied to the cells during culturing (name, identifier, time-stamp, materials used, volume, actual passage number of cells, seeding density, temperature, CO2-content, humidity). Perturbation(s): Description of the perturbation, (special case of a treatment), which describes the application of ‘perturbator(s)’, e.g. transfection (siRNA, expression clone), treatment with small compound, temperature shift, etc. | 1 . Experimental design This section is common to all hybridizations performed in the environmental genomic experiment, such as the goal, brief description, experimental factors tested. The following information is included in the experimental design. 1.1 Authors, laboratory, contact 1.2 Type of the experiment. See the MGED ontology, specifically: http://mged.sourceforge.net/ontologies/MGEDontology.php#Experime ntDesignType For instance: · multiple tissue comparison · temperature shock · time course · dose response · effect of gene knockout · effect of gene knockin (transgenics) · challenged vs. unchallenged · geographical location comparison · fitness · conditioning · competition · lab vs. field comparison · strain/line or ecotype comparison · other (Note that multiple types are possible, e.g. a ‘time course’ experiment can also be a ‘doseresponse’ type if multiple doses of the compound are tested over time) 1.3 Experimental factors: The parameter or parameters considered as being the main factors under test in the experiment. See the MGED ontology, specifically: http://mged.sourceforge.net/ontologies/MGEDontology.php#Experime ntalFactorCategory For instance: 7 · species · strain · ecotype · sex type · age and weight · competitors · cell line · cell type · developmental stage · disease state · behaviour · morphology · genotype · fitness · housing · feeding regime · native location · route of exposure · temperature · time of treatments and observations · dose(s) in standard units · genetic variation · response to a treatment or compound 1.4 How many hybridisations in the experiment? 1.5 If a common (standard) reference material used for all hybridisations 1.6 Quality control steps taken: · Replicates done (yes/no), type of replicates, description · biological · technical · if pools of extracts (yes/no) were used versus extracts from individual samples, description · whether dye swap is used (only for two channel platforms) · other (e.g., polyA tails, low complexity regions, unspecific binding) · other. 1.7 A brief description of the experiment and its goal and a link to a publication if one exists 8 1.8 Links (URL), citations | 1. Experiment Design: • Description of Experiment: provide a text description summarising aim of the study and the different technologies used to collect data. Description of the experimental plan, detailing variables under study and statistical consideration in experimental planning in order to address the question. The description should include: • Experimental Design Type: Provide one (or more) qualifier (From MGED Ontology MO) to describe the nature of the experiment. This allows high level group across experiments. • Experimental Factor(s): identify unambiguously the variable(s) under study and the predetermined range of values tested (the Experimental Factor Values). o If Quantitative Experimental Factor: specify Measurement Unit (if necessary provide IUPAC approved definition) and Values. o If Qualitative Experimental Factor: Use Ontologies or Controlled Vocabularies to describe the Qualitative Variable and its associated Values visited during the experiment. (Example: Experimental Factor is “Organism Part” and value are “Liver, Kidney,Heart” from TDMS ontology) o Replication Consideration: An instance of default Experimental Factor that should always be present when describing an Experiment. Indicate the nature of the Replication (biological or technical) and the amount of replication (none, duplicate, triplicate) in order to monitor the precision and accuracy of measurements.Therefore, Experimental Factor would be called “Replicate” and the associated Values would be “Replicate rank” ranging from 1 to n (usually n=<4). |  | 1. Experiment Overview The experimental overview shall contain the following information: 1.1. Goal A brief description of the goal of the experiment. This should include the hypothesis. 1.2. Keywords The keywords should include MeSH terms6 to describe the experiment. 1.3. Organization The following shall be specified for the organization performing the experiment: 1.3.1. Name 1.3.2. Address 1.4. Primary Contact The following shall be specified for the experimental primary contact: 1.4.1. Name 1.4.2. Email Address The description may include information of more individuals involved in the experiment, including their contact details and their role. 1.5. Date The date or time period during which the investigation was performed. 1.6. Conclusions A brief summary of the conclusions of the experiment. The description of the experiment may also contain other relevant information such as, but not limited to, funding announcements or related publications. Publications may be referenced by PubmedIDs (PMID). | Experiment Description: Short summary of the goals of the experiment. Assay Type(s): e.g., immunohistochemistry, in situ hybridization, GFP, etc. Experiment Design Type: For example, is it a comparison of normal vs. diseased tissue, of multiple tissue specimens of similar type, of multiple probes/antibodies applied to the same tissue, etc.? See MGED Ontology ExperimentDesignType as a basis for categorizing the design type. ExperimentalFactors: the parameters or conditions that are tested, such as probe/antibody, disease state, genetic variation, structural unit, age, etc. The total number of hybridizations/stains performed in the experiment: a hybridizations/stain is defined as an assay of a single tissue. Thus, an immunostain of a section of a tissue microarray consisting of a 10 x 10 array of different tissues counts as 100 immunostains. If replicates or reruns are a component of the experimental design, provide details that should include number of replicates per tissue, per antibody, per probe, etc., as relevant. URL of any websites or database accession numbers that are related to the experiment (if available). Contact information for communicating with the experimenter(s).
2 | MI:020 | generic organism |  | 2.1 Biosource properties **Guidance note: This section is especially important for experiments such as field studies where an organism is taken directly from the “wild” for experimentation. In this case as much detail as possible should be provided in the sample source location and environmental history sections: · Organism (NCBI taxonomy, if known. Where the identity of the organism is unknown or a mixed population is under study a unique identifier plus description should be provided.) · Sample source provider · Sample source location (If the biological material is taken from the “wild”, a GPS coordinate and associated time stamp, to indicate where and when the organism was harvested, should be provided. For some samples a more detailed topography may also be necessary) · Environmental history, if known. Information on the environmental history of the biosource prior to sample manipulation. Potentially, including growth conditions and any pertinent environmental parameters. · Descriptors relevant to the particular sample (if known). See the MGED ontology, specifically: http://mged.sourceforge.net/ontologies/MGEDontology.php#Bio MaterialCharacteristics For instance: sex age 9 weights morphology (size, colour etc) organism behavioural characteristics fitness development stage (of the organism or the host organism) organism part (tissue) of the organism's anatomy from which the biological material is derived (if samples are cells) cell type animal/plant strain, line or ecotype genetic variation (e.g., gene knockout, transgenic variation) individual genetic characteristics (e.g., disease alleles, polymorphisms) disease state or normal an individual identifier (for interrelation of the biological materials in the experiment) | BioSource Properties: o Provider: (MANDATORY) o Organism: MANDATORY) o Strain Or Line o Genetic Characteristics:Provide all necessary information using the community standards for describing those characteristics  Genotype  Haplotype: Describe Haplotype if available using HAPMAP standard  Individual Genetic Characteristics • Chromosomal Aberrations • Genetic Modification o DevelopmentalStage o Age o Sex o OrganismPart o Cell Type  Targeted Cell Type  Cellular Fraction. o Disease  Disease State  Disease Stage  Disease Grade o Biological Observations: For all category, Provide Name of Testing Facility and Name of Contact / Authority |  | 2.1. Sample Material Sample materials shall be described either according to 2.1.1 or according to 2.1.2, based on what is relevant for the particular material. 2.1.1. Biological Samples Biological samples (i.e., samples not qualifying as environmental samples) shall be described providing the following information: Draft Proposal for the MIFlowCyt Standard 6/12 2.1.1.1. Sample Name User defined name or ID of the biological sample, e.g., wild-type mouse. 2.1.1.2. Source Description The source of the sample shall be described stating the following: 2.1.1.2.1. Taxonomy The source organism shall be specified by genus and species, e.g. Mus musculus. The terms should come from the NCBI taxonomy database7. Taxonomy information may also contain the type of subspecies and organism strain. If the source is a cell line the description shall include its name, ATCC number8, and cell type. 2.1.1.2.2. Age The age should be provided if relevant for the particular source, e.g., 6 weeks. It may also include the developmental state, e.g. Theiler stage 23. 2.1.1.2.3. Gender The gender should be provided if relevant for the particular source. 2.1.1.2.4. Phenotype Any appropriate phenotype (e.g., disease state) characteristics shall be described, e.g., increased tumorigenesis. 2.1.1.2.5. Genotype Any appropriate genotype characteristics shall be described, e.g. p53-/-. 2.1.1.2.6. Source Treatment Any appropriate treatment of the source shall be described, e.g. treatment with cyclooxygenase-2 (COX-2) inhibitor. The description of the biological sample may also contain other relevant information, such as reference to a protocol used for cell culturing / growing, in vivo treatment, stimulation, extract preparation protocol, etc. It may also provide additional comments and details if needed (e.g., if a protocol was modified). | The origin of the biological specimens. Information required includes detailsof the organism (species, strain, genotype, sex, age, developmental stage), the physiologic state of the organism, i.e. normal versus disease, relevant exogenous factors, i.e. treatment, special diet, and the provider of the specimen. All information critical for other researchers to be able to reproduce the biomaterials as closely as possible must be provided. This information is not limited to the above examples. Referencing an established ontology for the terms you use is highly encouraged. The rationale: The location of a population of cells within a specimen is important to know since location may correlate with gene expression. Differential gene expression may be consequent to either tissue handling or to tumor biology.
3 | MI:030 | cells/microbes | CellLine(s): Description of cell lines employed (name; identifier; ATCC number (if applicable) or details: Species, tissue, organ, contact-details (when from different lab); reference to publication; passage number; mycoplasma test (Y/N) and other validation; modifications (optional, if any made, e.g. stably transfected, induced resistance, etc.).
4 | MI:040 | plant
5 | MI:050 | animal
6 | MI:060 | mouse
7 | MI:070 | human
8 | MI:080 | environmental sample |  |  |  |  | 2.1.2. Environmental Samples Environmental samples shall be described providing the following information: 2.1.2.1. Sample Name User defined name or ID of the environmental sample. Draft Proposal for the MIFlowCyt Standard 7/12 2.1.2.2. Sample Description 2.1.2.3. Sample Location The location of the sample origin shall be specified.
9 | MI:090 | environment/habitat
10 | MI:100 | in silico model
11 | MI:110 | population
12 | MI:120 | organism maintenance
13 | MI:130 | animal husbandry
14 | MI:140 | cell/microbe culture | Array(s): culturing and reaction container(s) that are used during the project (name; identifier; type (e.g. 384, 96, 24 well, flask, glass slide for cell arrays); vendor or manufacturer; order-number; surface area/feature size. Reagents: Media, supplements, kits, buffers, and solutions (name, identifier, vendor or manufacturer, order number, lot number). Perturbator(s): Description of materials/conditions that are used in the project to perturb the cells (type - e.g. siRNA, cDNA, small chemical compound, name, external references - gene/protein identifiers/order numbers, sequences if applicable). Instrument(s): Description of the data acquisition station and other instruments utilized in the project, e.g. for transfection (name, type, model, manufacturer). PostTreatment(s): Description of the conditions that are applied after culturing and prior to data acquisition, i.e. lysis, fixation, staining, antibody incubation, etc. |  | • cell culture conditions • growth conditions (passage level and frequency) • metabolic competency of cell strains • treatment (stressor), in vivo, in vitro • duration • dose (and unit)
15 | MI:150 | plant cultivation
16 | MI:160 | preconditioning/pretreatment |  | Preconditioning **Guidance note: This section attempts to capture the animal husbandry or cell culture conditions that are common to all samples within the experiment. For field studies this may be irrelevant or sparsely populated. For guidance on terminology see the MGED ontology, specifically: http://mged.sourceforge.net/ontologies/MGEDontology.php#Environme ntalHistory 10 Organism husbandry and housing details or cell culture conditions. For example: · Housing details. For example: o Housing type (Make, model etc.) o Size o Material o Shape · Feeding/cleaning regime · Growth conditions. For example: o Temperature o Density o Light PreConditioning period (i.e. length of time)
17 | MI:170 | acclimation
18 | MI:180 | organism manipulation |  | 2.2 Sample manipulations: laboratory protocols and relevant parameters. MIAME/Env requires that measurable parameters are provided with at least a name, description and associated unit (For atypical measures or units, it should be made clear whether the measure is relative or absolute and a full description of the unit should be provided). In unusual or ambiguous cases a more detailed description/protocol should be provided. Foe example: In an experiment comparing the response of an organism to temperature change, it should be made clear which temperature is of interest (soil, air, water etc.) and details of its measurement should be given (e.g. temperature at 5 mm soil depth along a cline at a radius of 12cm from the base of the plant). Conditioning (Either field or lab based). **Guidance note: MIAME/Env classifies any change to the animal husbandry regime detailed above as a treatment. Where conditioning is performed in uncontrolled “field” environments, details of the environmental parameters found at the conditioning site should be recorded in a similar fashion to the environmental history captured in biosource properties (section 2.1) For examples of controlled vocabularies for use in the following sections see the MGED ontology, specifically: http://mged.sourceforge.net/ontologies/MGEDontology.php#Action and http://mged.sourceforge.net/ontologies/MGEDontology.php#ProtocolP ackage Treatments in vivio, in vitro, measurements, units and detailed experimental protocols on information such as: · Exposure to chemical stressors. For example: o Complex mixtures. For example Air/Water samples. Including information on · sample source (including relevant environmental parameters) · sample analysis (if performed) Outflows. Including information on: · outflow source (including relevant environmental parameters) · outflow analysis (if performed) 11 o Compound / Small molecule. Including information on: Treatment compound name, grade, formulation and manufacturer Type of compound (e.g. chemical, drug or solvent) CASRN, chemical structure/molecular formula dose (and unit) Exposure to physical stressors. For example: · Electromagnetic radiation. Including information on: o Type o Wavelength o Duration o Intensity · Pressure (including depth or height) · Heat / Cold – shock. Including information on: o Duration o Temperature Exposure to biological stressors. For example: · Parasitic infection · Introduction of competing organism/s Perturbation. For example, changes to: · Housing and or animal husbandry for example o Container o Diet o Cleaning regime o Bedding · Organism density · Circadianrhythmicity · Tidalcycle | o Sample manipulations: laboratory protocols and relevant parameters, such as: o In vivo study: o Environmental Conditions: o Growth Conditions: o Diet Description:  Dietary Name  Diet provider (e.g. ResearchDiets, Harlan –Teklad, Testdiet, Bio-Serv…)  Diet Accession Number (ASNS (former AIN accession number is available)  Diet composition  Dosing regimen  Dose groups.  Diet availibility (ad-libitum or other).  Food intake par animal and per day.  Water Type and Water consumption. o Animal husbandry information:  provider/origin  Cage size  Cage material  Cage bedding  Population density o light:  source  intensity: (specify Unit)  exposure: (specify Time Unit) o Stressors: • chemical: • compound name • compound index accession number (e.g. CAS number) • provider • duration (specify Time Unit) • dose (specify Unit) • vehicle • exposure method: one of { oral, gavage, mucolar, medium, intraperitoneal, intramuscular, intravenous, topical } • radiological / electromagnetic • source: Gamma-ray, X-rays, • duration (specify Time Unit) • dose (specify Unit) • behavorioral: • sleep deprivation • isolation • social challenge • biological: o agent: organism, organism part, Genetic characteristics, genetic modification, sex, age, developmental stage. o dose: (specify Concentration Unit) o duration: (specify Time Unit) o vehicle/vector o exposure method: one of { oral, gavage, mucolar, medium, intraperitoneal, intramuscular, intravenous, topical } • injuries o agent: |  | 2.2. Sample Treatment(s) Description The description shall include details about treatment agents or shall specify that samples were untreated. For example, a sample treated with an agent might be compared to an untreated sample; when reproducing and interpreting such an experiment, having access to details on treatment agents and conditions is essential in order to query and retrieve samples for further analysis. The treatment description should also contain other relevant treatment details such as, but not limited to, time, temperature, and concentration.
19 | MI:190 | medical intervention
20 | MI:200 | organism part |  |  | o Organism Part: Specify Part using CV  Weight: (specify Measurement Units)  Size: (specify Measurement Units) |  | 2.1.1.3. Sample Type The type of the sample (e.g., peripheral blood) shall be stated if relevant.
21 | MI:210 | organism state
22 | MI:220 | organism trait
23 | MI:230 | synthetic analyte
24 | MI:240 | enzyme
25 | MI:250 | silencing RNA reagent
26 | MI:260 | sample collection |  |  | o Whole Organism:Yes/No
27 | MI:270 | sample processing |  | Sample processing o Separation technique: Of tissues or cells from a heterogeneous sample. Or of a specific organism subsample from a mixed population. For example: For tissues and cells · none · trimming · microdissection 12 · FACS · other (including description/protocol) For populations · size exclusion · centrifugation · manual separation (including description/protocol) o Method of sacrifice. Including information on: date time |  |  |  | The manner of preparation of the specimens for the study. Information required includes the nature of the samples, i.e. whole tissue, tissue sections, thickness of sections, whole cells, or sections of cells, manner in which the specimens were prepared for the experiments, i.e. fixation with type of fixative and duration of fixation versus fresh, non-fixed, non-frozen specimens, versus frozen specimens, sections mounted on slides versus floating in reagents, nature of the slides on which sections were mounted, and the protocols used. Details of how the specimens were stored until use should be provided. For example, if frozen samples are used, provide information regarding storage temperature and duration of storage. Referencing previously published protocols by PubMed ID is permissible if the protocols were appropriately detailed and were followed exactly. If the specimens are on glass slides, details should include section thickness and special characteristics of the slides type of slides, i.e. coating and/or whether the slides are charged slides.
28 | MI:280 | sample storage
29 | MI:290 | sample transport
30 | MI:300 | detection/tagging/staining |  | 2.3 Hybridization extract preparation protocol for each extract prepared from the biological material, including · extraction method · whether total RNA, mRNA, or genomic DNA is extracted · amplification (RNA polymerases, PCR) 2.4 Labeling protocol for each labeling prepared from the extract, including · amount of nucleic acids labeled · label used (e.g., ACy3, GCy5, 33P, ….) · label incorporation method · Facility details (if this part of the experiments has been carried out in facility different from the sample treatment steps above, e.g. consortium, contracting out.) 2.5 External controls added to hybridization extract(s) (spiking controls) · element on array expected to hybridize to spiking control · spike type (e.g., oligonucleotide, plasmid DNA, transcript) · spike qualifier (e.g., concentration, expected ratio, labeling methods if different than that of the extract) | 2.3 Hybridization extract preparation protocol for each extract prepared from the biological material, including · extraction method · whether total RNA, mRNA, or genomic DNA is extracted · amplification (RNA polymerases, PCR) 2.4 Labeling protocol for each labeling prepared from the extract, including · amount of nucleic acids labeled · label used (e.g., ACy3, GCy5, 33P, ….) · label incorporation method · Facility details (if this part of the experiments has been carried out in facility different from the sample treatment steps above, e.g. consortium, contracting out.) 2.5 External controls added to hybridization extract(s) (spiking controls) · element on array expected to hybridize to spiking control · spike type (e.g., oligonucleotide, plasmid DNA, transcript) · spike qualifier (e.g., concentration, expected ratio, labeling methods if different than that of the extract) |  | 2.3. Fluorescence Reagent(s) Description The following information shall be provided about each fluorescence reagent used. Information about the characteristic(s) being measured, analyte, detector, and reporter should be descriptive enough to allow for accurate interpretation of the experiment data. Table 1 lists some examples of reagent descriptions. 2.3.1. Characteristic(s) being measured The characteristic(s), concept(s), or process(es) being evaluated, e.g., apoptosis, membrane permeability, cell viability, oxidative burst. The characteristic(s) being measured shall be provided whenever there is ambiguity about the analyte being measured by the detector, such as when sample processing affects detection of the analyte (see propidium iodide example in Table 1). 2.3.2. Analyte Name The target that is being detected by the probe, e.g., CD25. 2.3.3. Detector (Probe) Name Substance being used to detect the analyte, e.g., anti-CD25 antibody. 2.3.4. Reporter (Fluorochrome) Name Substance being used to report the analyte when analyzing by flow cytometer, e.g., FITC. 2.3.5. Reagent Manufacturer Name The reagent manufacturer name shall be provided, e.g., BD Biosciences. When secondary antibodies are used, the primary antibody should be listed as the Detector (e.g., anti-CD25-biotin) and the secondary antibody should be listed as the Reporter (e.g. SA-PerCP). The probe description should also contain other relevant details including, but not limited to, concentration, label incorporation method, separation technique, antibody staining procedures, wash steps. Lot number and catalog number should be provided. If the detector is a monoclonal antibody the clone name should also be included. | Reporter (probe or antibody) information: Unambiguous genomic identification of the reporter: At minimum, the gene identifier and the reference database containing the identifier. If available, the full sequence of the probe, or clone identifiers of the antibody. Since such genomic information may not be available for all antibodies, as much detail that potentially identifies the gene product(s) that are being studied should be provided. Protocol for how the reporters were designed and produced or the source from which they were obtained. For GFP-like experiments, the promoter sequence should be specified as the reporter. For reporters purchased from a company, the company name and catalogue number must be provided, as well as the web site that provides details of the specifications, if available. In addition, key aspects in the specifications should be repeated since catalogue numbers and company literature may become unavailable in the future. For a custom made antibody, the putative antigen and references to studies that characterize the sensitivity and specificity of the antibody in tissue immunostains should be provided. Additional attributes of the reporter. For antibodies, include the type of primary antibody (monoclonal vs. polyclonal), the immunoglobulin isotype, and the organism in which the antibody was generated. For RNA probes, provide: vector name, cloning site and direction of a cDNA clone, type of labeling NTPs, in vitro transcription (IVT) templates (plasmid template linearized with a restriction enzyme or PCR template with a pair of primers), promoter for IVT labeling reaction. Staining protocols and parameters: Number of detectable reporters (e.g., more than one for multiple-dye confocal fluorescence microscopy) on the hybridization or stain plus specific details about the detection method: Detection reagent used (e.g., fluorescent, enzyme-substrate, gold particles, etc.) Source of the detection system plus sufficient details to obtain or reproduce the reaction product. The protocol and conditions used to produce the hybridization or immunostain. This should include the mounting onto the slide/substrate and subsequent treatments of the section, i.e. immunohistochemical stain protocol, including parameters such as buffer, temperature, postwash conditions, etc.). Also include: What steps, if any, were taken to decrease non-specific reaction product. Such steps for immunoperoxidase experiments might include preincubation of the specimen preparation with (a) an albumin solution to block non-specific binding of protein and (b) a peroxide solution to decrease or abolish reaction product catalyzed by endogenous peroxidase. Provide details of any antigen or gene product retrieval method that was used, if any. Such steps for immunohistochemical experiments could include incubation of sections for a specified time in a specified buffer subjected to microwave heating for a specified time. Protocols for the assay controls. Information should include the nature of negative tissue controls and negative Reporter controls. Optional specificity Reporter controls, such as competitive inhibition of reaction with either purified protein or peptide for immunohistochemical studies, should be provided.
31 | MI:310 | generic analysis | DataAcquisition(s): Detection of the effect(s) induced by the perturbation (identifier, time stamp, reference to instrument above, instrument-settings, e.g. excitation and emission wavelengths with filter sets, lamp/Laser energy).
32 | MI:320 | array-based assay |  | 1) Array related information · array design name · platform type: in situ synthesized, spotted or other · surface and coating specification · physical dimensions of array support (e.g. of slide) · number of features on the array · availability (e.g., for commercial arrays) or production protocol for custom made arrays 2a) For each reporter type · the type of the reporter: synthetic oligonucleotides, PCR products, plasmids, colonies, other · single or double stranded 2b) For each reporter · sequence or PCR primer information: (If known, otherwise a unique identifier and an accompanying reference to a database containing additional information on that identifier) · sequence or a reference sequence (e.g., for oligonucleotides), if known · sequence accession number in DDBJ/EMBL/GenBank, if exists · primer pair information, if relevant · approximate lengths if exact sequence not known · clone information, if relevant (clone ID, clone provider, date, availability) · element generation protocol that includes sufficient information to reproduce the element for custommade arrays that are not generally available 3a) For each feature type · dimensions 4 · attachment (covalent/ionic/other) · technology used to generate the feature 3b) For each feature · which reporter and the location on the array 4) For each composite sequence · which reporters it contains · the reference sequence · gene name and links to appropriate databases (e.g., SWISSPROT, or organism specific databases), if known and relevant 5) Control elements on the array · position of the feature (the abstract coordinate on the array) · control type (spiking, normalization, negative, positive) · control qualifier (endogenous, exogenous) For each array that is not generally available (e.g., commercially available), the provided information should be sufficient to reproduce the array and all its design features. 3. Hybridization procedures and parameters Each hybridization description should include information about which labelled extract (related to which biological material, which extract) and which array (e.g., array design, batch and serial number) has been used in the experiment; and the hybridization protocol, normally including: · the solution (erg., concentration of solutes) · blocking agent · wash procedure · quantity of labeled target used · time, concentration, volume, temperature · description of the hybridization instruments | 1) Array related information · array design name · platform type: in situ synthesized, spotted or other · surface and coating specification · physical dimensions of array support (e.g. of slide) · number of features on the array · availability (e.g., for commercial arrays) or production protocol for custom made arrays 2a) For each reporter type · the type of the reporter: synthetic oligonucleotides, PCR products, plasmids, colonies, other · single or double stranded 2b) For each reporter · sequence or PCR primer information: (If known, otherwise a unique identifier and an accompanying reference to a database containing additional information on that identifier) · sequence or a reference sequence (e.g., for oligonucleotides), if known · sequence accession number in DDBJ/EMBL/GenBank, if exists · primer pair information, if relevant · approximate lengths if exact sequence not known · clone information, if relevant (clone ID, clone provider, date, availability) · element generation protocol that includes sufficient information to reproduce the element for custommade arrays that are not generally available 3a) For each feature type · dimensions 4 · attachment (covalent/ionic/other) · technology used to generate the feature 3b) For each feature · which reporter and the location on the array 4) For each composite sequence · which reporters it contains · the reference sequence · gene name and links to appropriate databases (e.g., SWISSPROT, or organism specific databases), if known and relevant 5) Control elements on the array · position of the feature (the abstract coordinate on the array) · control type (spiking, normalization, negative, positive) · control qualifier (endogenous, exogenous) For each array that is not generally available (e.g., commercially available), the provided information should be sufficient to reproduce the array and all its design features. 3. Hybridization procedures and parameters Each hybridization description should include information about which labelled extract (related to which biological material, which extract) and which array (e.g., array design, batch and serial number) has been used in the experiment; and the hybridization protocol, normally including: · the solution (erg., concentration of solutes) · blocking agent · wash procedure · quantity of labeled target used · time, concentration, volume, temperature · description of the hybridization instruments
33 | MI:330 | capillary electrophoresis |  |  |  | 1. General Features 1.1.1 Date stamp 1.1.2 Responsible person/role 1.1.3 Experiment type 1.1.4 Experiment aim 2. Sample 2.1.1 Sample name(s) 2.1.2 Sample solution 2.1.3 Sample preparation 3. Equipment 3.1 Capillary 3.1.1 Description of capillary 3.1.2 Capillary manufacture/sources 3.1.3 Capillary dimensions 3.1.4 Conditioning of a new /regeneration of an exsisting capillary 3.2 Instrumentation and other equipment 3.2.1 Manufacturer, model, catalog number 3.3 Control and data collection software 3.3.1 Manufacturer, name, version 4. Run Processes A run is made up of various steps, each of which needs to be defined as specified in sections 4.2, 4.3 and 5, as applicable; there are also parameters that should be specified across the whole run (4.1). 4.1 Run descriptors 4.1.1 Temperature of capillary 4.1.2 Auxiliary data channels 4.1.3 Duration of data collection 4.2 Step descriptors 4.2.1 Step name 4.2.2 Step conditions 4.2.3 Pre-conditioning, flush and wash and background electrolyte/ampholytes solutions. 4.3 Sample injection 4.3.1 Name of sample 4.3.2 Volume of sample solution 4.3.3 Temperature of sample storage 4.3.4 Injection geometry 5. Detection 5.1.1 Type of detection 5.1.2 Detection specifics 5.1.3 Direct or indirect detection 5.1.4 Detector calibration 6. Electropherogram Data Processing 6.1.1 Integration protocol 6.1.2 Integration specifics 6.1.3 Peak efficiency 6.1.4 Mobility 6.1.5 Resolution
34 | MI:340 | cell phenotyping
35 | MI:350 | clinical test/examination |  |  | • Clinical Chemistry: Name of Testing Facility Name of Contact / Authority o Blood Chemistry  Blood Urea Nitrogen (BUN) (mg/dL)  Creatinine (CREAT) (mg/dL)  Total Protein (TP) (g/dL)  Albumin (ALB) (g/dL)  Alanine aminotransferase (ALT) (IU/L)  Sorbitol Dehydrogenase (SDH) (IU/L)  Alkaline phosphatase (ALP) (IU/L)  Total Bile Acids (TBA) (umol/L)  Creatine Kinase (IU/L)  Triiodothyronine (T3) (ng/dl)  Thyroxine (T4) (ug/dL)  Thyroid-stimulating Hormone (TSH)(ng/mL) o Urine Chemistry  Bilirubins (total) µmol/l  Calcium (II; total) mmol/l  Chloride (mmol/l)  Creatinine (µmol/l)  Glucose (mmol/l)  Hydrogen ion (pH)  Ketones (mmol/l)  Magnesium (total) (mmol/l)  Occult Blood (0 + 0,+ )  Phosphate (inorganic) (mmol/l)  Potassium ion (mmol/l)  Sodium ion (mmol/l)  Urobilinogen (µmol/l)  Volume (ml) • Hematology: Name of Testing Facility Name of Contact / Authority o Erythrocytes (RBC) (million/microliter) o Hemoglobin (Hgb) (g/dL) o Manual Hematocrit (Spun Hct) (%) o Mean Corpuscular Volume (MCV) (fL) o Mean Corpuscular Hemoglobin (MCH) (pg) o Mean Corpuscular Hemoglobin Concentracion (MCHC) (%) o Reticulocytes (million/microliter) o Platelets (1,000/microliter) o Leukocytes (WBC) (1,000/microliter) o Segmented Neutrophils (1000/Microliter) o Band Neutrophil Count (1,000/microliter) o Lymphocytes (1,000/microliter) o Monocytes (1,000/microliter) o Eosinophils (1,000/microliter) o Myelocytes (1,000/microliter) o Prolymphocyte (%) o Atypical Lymphocytes (%) o Nucleated RBC (/100 WBC) o Hematocrit (Automated) (%) • Reproductive Observation: Name of Testing Facility Name of Contact / Authority  Male: o Average Spermatid Count (0.0001 ml suspension) o Body Weight (grams) o Spermatid Heads per Testis (x10 million) o Spermatid Heads per gram of Testis (x10 million) o Left Caudal Weight (grams) o Left Epididymis Weight (grams) o Left Testis Weight (grams) o Percent Sperm Motility o Sperm Density (millions) o Sperm Morphology Head o Sperm Morphology Tail o Sperm Motility Qualifier o Total Sperm Count  Female: o Resorptions (Early) o Resorptions (LATE) o Total Litter Resorbed) o Vaginal cytology o Num. Estrous Cycles o Duration of Estrous Cycle • Histopathology: Name of Testing Facility Name of Contact / Authority o OrganismPart: o Biometrics observation (see above):  organs and tissues examination list  organs and tissues collection list  organs and tissues weight list  organs and tissues storage method and location o Gross necropsy examination o Histology Referecing System : eg. TDMS o Histopathology site o Histopathology morphology o Qualifiers and associated Values for the Morphology
36 | MI:360 | column chromatography |  |  | o Liquid Chromatography:  Operator  Hardware: manufacturer, model, version  Calibration (Hardware/software)  Column: manufacturer, model, version, type (ion exchange, affinity, size exclusion)  Run conditions (buffer flow, elution gradient, buffer composition) | 1. General features a) Global Descriptors – Date stamp (as YYYY-MM-DD) – Responsible person (or institutional role if more appropriate); name, affiliation and stable contact information b) Sample – Brief description of sample – Processing applied to the sample – Sample injection 2. Equipment a) Product Details for Column – Make – Model – Separation mode b) Physical Characteristics of Column – Length – Diameter – Description of stationary phase. c) Chromatography System Used for the Separation – Make – Model 3. Mobile Phase: for each mobile phase – Name of mobile phase – Description of constituents 4. Properties of the Column Run – Time – Gradient – Flow rate – Temperature – Separation purpose 5. Between Run Processes – Type – Substance – Time – Volume 6. Column Outputs a) Detection – Equipment used for detection – Type – Equipment settings – Timescale over which data was collected – Trace b) Fractions – Fraction name – Fraction description In multi-dimensional separations, stages 1(b) to 6 are repeated.
37 | MI:370 | electrochemical detection
38 | MI:380 | electrophysiology mensuration
39 | MI:390 | enzyme activity assay
40 | MI:400 | flow cytometry |  |  |  |  | 3. Instrument Details The following details shall be specified about instruments used to analyze samples. It is supposed that this information will be automatically provided by flow cytometry instruments in instrumentation description files along with FCS9 files. 3.1. Instrument Manufacturer Name 3.2. Instrument Type 3.3. Instrument Configuration and Settings The system and its configurations have significant impact on experimental results and as such it shall be provided as follows: 3.3.1. Lightsource(s) Each lightsource (e.g., laser) shall be described stating the following: 3.3.1.1. Lightsource Excitory Wavelength 3.3.1.2. Lightsource Power Additional lightsource details may be provided, e.g., the type of the light source (air-cooled argon laser, etc.). 3.3.2. Parameters Parameters corresponding to parameters in the FCS file shall be described as follows: 3.3.2.1. Name Parameter name shall correspond to the parameter short name as specified in the FCS file (i.e., using the $PnN FCS keyword). 3.3.2.2. Optical Filters Optical filters used to detect the parameter shall be specified as: 3.3.2.2.1. Filter Manufacturer The filter manufacturer should be specified, e.g. Omega filters 3.3.2.2.2. Filter Type Filter type shall be specified, e.g., band pass, long pass, polarizer excitation, short pass filter. 3.3.2.2.3. Transmitted Wavelength For each particular filter, it shall also be specified whether the passed or the scattered light was used for sub sequential filtering and/or analyzing to produce the parameter value. The instrumentation details may also contain other relevant machine settings, including setting name, description, and particular value, if relevant. Instrument details may also include the instrument serial number.
41 | MI:410 | gel electrophoresis |  |  | o Sample Preparation: o Protein extract preparation before loading on gel. (Storage buffer, storage conditions, Quantitation and Quality Control. o Operator o 2D gels procedures: o Gel Run:  Operator  gel preparation (brand, name, concentration, gradient, buffer)  hardware: manufacturer, model, version  software: manufacturer, model, version  run parameters (voltage, directions, pulse-time) o Gel Staining:  Operator  Staining protocol: o Gel feature removal and handling: | 1. General features 1.1.1 Date stamp (as yyyy-mm-dd) 1.1.2 Responsible person or institutional role 1.1.3 Electrophoresis type 2. Sample 2.1.1 Sample name(s) 2.1.2 Loading buffer 3. Gel matrix and electrophoresis There should be one description for each dimension. Each dimension must have a description for sections 3.1, 3.2 and 3.3. If a gel is composed from two or more matrices (e.g. stacking gel and resolving gel), each matrix must have a section 3.2 description. 3.1. Dimension details 3.1.1 Ordinal number for this dimension 3.1.2 Separation method employed 3.2 Gel matrix 3.2.1 Description of gel matrix 3.2.2 Gel manufacturer 3.2.3 Physical dimensions 3.2.4 The physicochemical property range and distribution (as appropriate) 3.2.5 Acrylamide concentration 3.2.6 Acrylamide : Bisacrylamide ratio 3.2.7 Additional substances in gel 3.2.8 Gel lane 3.2.9 Sample application 3.3 Protocol 3.3.1 Running buffer 3.3.2 Additional buffers 3.3.3 Electrophoresis conditions 4. Inter-dimension process (not applicable for one-dimensional gel electrophoresis This section is used to record any process or processes applied to, or carried out between the dimensions described in section 3. Each inter-dimension process applied must have a description for section 3.1 and 3.2. 4.1 Inter-dimension process 4.1.1 Step name 4.1.2 Inter-Dimension buffer 4.1.3 Additional reagents 4.1.4 Equipment 4.1.5 Protocol 5. Detection (if applicable) If detection is carried out there should be a description for the appropriate direct (5.1) or indirect (5.2) detection method. Each detection process must have a protocol description (5.3). 5.1 Direct detection 5.1.1 Name of direct detection process 5.1.2 Direct detection agents 5.1.3 Additional reagents and buffers 5.1.4 Equipment 5.1.5 Direct detection protocol 5.2 Indirect detection 5.2.1 Name of indirect detection process 5.2.2 Transfer medium 5.2.3 Detection medium 5.2.4 Indirect detection agents 5.2.5 Additional reagents and buffers 5.2.6 Equipment 5.2.7 Indirect detection protocol
42 | MI:420 | image acquisition |  | 1) Raw data description should include · for each scan laboratory protocol for scanning, including scanning hardware and software, scan parameters, including laser power, spatial resolution, pixel space, PMT voltage; · scanned images; It should be noted that MGED does not have consensus whether the provision of images is a part of MIAME. | 1) Raw data description should include · for each scan laboratory protocol for scanning, including scanning hardware and software, scan parameters, including laser power, spatial resolution, pixel space, PMT voltage; · scanned images; It should be noted that MGED does not have consensus whether the provision of images is a part of MIAME. | 6. Image acquisition (if applicable) 6.1 Acquisition equipment 6.1.1 Type of equipment 6.1.2 Name of equipment 6.1.3 Software 6.1.4 Calibration (if appropriate) 6.1.5 Equipment specific parameters 6.2 Acquisition protocol 6.2.1 Image acquisition process 6.2.2 Reference to gel matrix 7. Image (as a result of section 6) 7.1.1 Image name (or id) 7.1.2 Dimensions 7.1.3 Resolution 7.1.4 Bit depth 7.1.5 Image location 7.1.6 Standard image orientation |  | The images. Any popular file format is acceptable; TIFF or JPEG is preferred. Image acquisition parameters: Detection method by which hybridization or staining is observed (for each channel, e.g. fluorescent wavelength, etc., if multiple probes or antibodies are used): Image scale or total instrumental magnification: Image acquisition protocol: Imaging hardware and software used: Image analysis and/or editing software used (if relevant) Image Characterizations: The type of characterization that is recorded for such data can vary significantly depending on the experimental design. The following guidelines specify a minimum set of characterization features. Additional characterization of the images as required by the experimental design should also be provided. List ontology entries (including reference to ontology, terms, accession numbers) (or provide term and definition if sufficient detail cannot be found in an existing ontology) for each structural unit used for classification. Structural units will be a type of: organ, tissue, cell, etc. Define (or choose from an ontology) the staining intensity scale. For example, a three-point scale (of none, equivocal, or intense) is recommended for evaluating CD immunostains. Each gradation of intensity in the scale that is used should be properly defined. For each structural unit in each slide (or, in each image), provide quantitative measurements or estimates of: List ontology entries (including reference to ontology, terms, accession numbers) (or provide term and definition if sufficient detail cannot be found in an existing ontology) for each structural unit used for classification. Structural units will be a type of: organ, tissue, cell, subcellular component, etc. Choose from the MGED Ontology the staining intensity scale. For example, a three-point scale of absent, equivocal, or present might be appropriate for evaluating immunohistochemistry stains. However, any scale that the investigators feel is appropriate may be used as long as each gradation of intensity in the scale is defined in a manner that an independent investigator can apply the same set of characterization criteria. For each structural unit in each slide (or, in each image), provide quantitative measurements or estimates of: Staining intensity level or optionally, the fraction of the structural unit population exhibiting each intensity level. Other optional annotations/characterizations of the structural unit, e.g., feature density, qualitative characteristics or spatial distribution of the structural unit or staining. Use of referenced ontology terms is encouraged. Both positive and negative measurements of staining relevant to the experiment should be reported. For example, Luminal epithelial cell: present Basal epithelial cell: absent etc. or: Luminal epithelial cell: 90% present, 10% equivocal, 0% absent Basal epithelial cell: 0% present, 20% equivocal, 80% absent etc. Protocol for the characterization. Information about the basic technique for characterizing assays should be included, e.g. how many observers performed the characterizations, assessment of inter-observer variability, whether the characterizations were performed from the images themselves or visually through instrument, any exceptions or assumptions made which characterizing the data, etc.
43 | MI:430 | FT-IR spectroscopy
44 | MI:440 | mass spectrometry |  |  | o Mass Spectrometry:   Sample preparations:Gel origin (Gel ID, spot ID)  Operator  Hardware: manufacturer, model, version  Calibration (Hardware/software)  Preparation methods  MALDI plate preparation  MALDI plate storage conditions | 1. General features a) Global descriptors – Date stamp (as YYYY-MM-DD) – Responsible person (or institutional role if more appropriate); provide name, affiliation and stable contact information – Machine manufacturer and model – Significant customisations (summary) – Resolution for all MS modes for which data are presented; state for instance ‘10% valley’ or ‘FWHM’ – – Estimated mass accuracy (ppm or Dalton) for all MS levels for which data are presented b) Control and analysis software – Software name and version – Switching criteria (tandem only) – Isolation width (global, or by MS level) – Location of ‘parameters’ file 2. Ion sources a) Electrospray Ionisation (ESI) – Supply type (static, or fed) – Scan cycle times (fed only) – Solvent flow rate and composition – Interface manufacturer, model and catalog number (where available) – Sprayer type, coating, manufacturer, model and catalog number (where available) – Relevant voltages where appropriate (tip, cone, acceleration) – Other parameters if discriminant for the experiment (such as nebulising gas and pressure ) b) MALDI – Plate composition (or type) – Matrix composition (if applicable) – Deposition technique – Relevant voltages where appropriate (Grid , acceleration ) – PSD (or LID/ISD) summary, if performed – Whether extraction was delayed – Laser type (e.g. nitrogen) and wavelength (nm), – Other laser related parameters, if discriminating for the experiment (such as pulse energy (μJ), attenuation, focus diameter (μm), pulse duration (ns at FWHM), frequency (Hz) and average shots fired per spectrum) 3. Post-source componentry a) Ion optics, ‘simple’ quadrupoles, hexapoles – No parameters to be captured b) Time-of-flight drift tube (TOF) – Reflectron status (on, off, none) c) Ion trap – Final MS exponent achieved d) Collision cell – Gas type and pressure (bar) – Collision energy e) FT-ICR – As for ‘Ion trap’ (3c) and ‘Collision cell’ (3d) combined, no further parameters required f) Detectors – Detector type – Detector sensitivity 4. Peak list generation and annotation For this section; if software other than that listed in 1b (Control and analysis software) is used to perform a task, the producer, name and version of that software must be supplied in each case a) Generation of ‘stick’ spectrum – Location of source (‘raw’) file including file name and type – Parameters triggering the generation of peak lists from raw data, including filtering for exclusion of peaklists from raw spectra, where appropriate – Acquisition number (from the ‘raw’ file) of all acquisitions combined in the peak list, the total number combined and whether summed or averaged – Relative times for all acquisitions combined in the peak list (electrospray only) – Identifying information for the target area (MALDI-like methods only) – Signal-to-noise estimation and method – Smoothing; whether applied, parameters – Percentage peak height for centroiding; or algorithm used, if appropriate – Background threshold, or algorithm used – Base peak m/z, where appropriate – Whether charge states calculated, spectrum deconvoluted and peaks deisotoped (with methods described as appropriate) – Metastable peaks removed, if applicable – Ion mode for this spectrum – MS level for this spectrum – Precursor m/z and charge, with the full mass spectrum containing that peak (for MS level 2 and higher) – m/z and intensity values b) Quantitation for selected ions – As for ‘Generation of stick spectrum’ (4a), plus the following information – Experimental protocol, canonical reference where available with deviations – Number of combined samples analysed – Quantitation approach (e.g. integration) – Normalisation technique – Location of quantitation data, with file name and type (where appropriate)
45 | MI:450 | molecular interaction detection
46 | MI:460 | mouse phenotyping
47 | MI:470 | nmr spectroscopy
48 | MI:480 | nucleic acid sequencing
49 | MI:490 | PCR
50 | MI:500 | Ultra-HT sequencing
51 | MI:510 | toxicology assay
52 | MI:520 | generic data description
53 | MI:530 | confidence indicator
54 | MI:540 | enzyme activity data
55 | MI:550 | generic data analysis | DataProcessing Description of the processes applied to analyze the raw-data in order to generate a hit list. Reference to publication(s) describing the procedures and/or to software utilized (incl. version and settings). Links to the raw, the processed, and to the interpreted data.
56 | MI:560 | flow cytometry informatics |  |  |  |  | 4. Data Analysis The fundamental tenet of scientific research is that the published results of any study have to be open to independent validation or refutation. Therefore, it is important not only to describe analytical results but also to provide the raw FCS data files and to specify enough detail allowing for third parties to recreate the analysis without having to make baseless assumptions regarding computational details. The following details shall at least be specified when describing data analysis: 4.1. FCS Data File The FCS data files shall be provided directly or details on how they may be requested shall be stated. 4.1.1. Total Count of Events Total number of events in each FCS data file shall be stated. 4.2. Compensation Description A description of the type of compensation used shall be included (e.g., no compensation, hardware compensation, computed compensation). For computed compensation the compensation matrix should be provided. We make this as a strong recommendation, not a strict requirement, as this information Draft Proposal for the MIFlowCyt Standard 10/12 may not always be available, e.g., for old data. The Compensation-ML specification4 may be used to indicate this information. 4.3. Gating (Data Filtering) Description Gating significantly impacts all statistical and analytical results and thus it is crucial that all the gates are exactly mathematically described. It is insufficient to describe a gate as “lymphocytes” (or “lymphocytes based on forward and sideward scatter display and CD4 expression”), as this does not express the exact boundary that was used by the researcher to define (surround) the lymphocytes population. Each gate used within the analysis should be exactly described. Unfortunately, the current state of the software does not routinely support exporting of this information. We make this as a recommendation, not a requirement, until manufactures and third-party software developers provide appropriate tools. The Gating-ML specification4 may be used to provide this information. In case the exact gating/filtering description cannot be produced (e.g., software is incapable of exporting exact description, unknown gate boundaries, probabilistic filtering algorithms, clustering analysis, etc.) detailed membership information should be provided for each gate/subpopulation. This should consist of a complete list of events within each particular subpopulation. Technically, this information may be provided using additional index files (unambiguous referencing of all the members of each subpopulation). 4.3.1. Gate Summary Information The following summary information shall be provided for each gate (or filter) used in the analysis: 4.3.1.1. Description Subpopulation identified by the gate shall be briefly described, “IL-4 producing Th cells (CD3+4+)”. 4.3.1.2. Rationale for the Gate The gating strategy or a reference to where it is described in detail (e.g., a manuscript) shall be provided. 4.3.1.3. Qualitative description of subpopulation identified by the gate A description of the relative intensity of staining of the positive markers on the subpopulation identified by the gate shall be provided (e.g., CD3 dim, moderate, or bright). 4.3.1.4. Gate Statistics Percentage of events within the gate (or filter) shall be provided specifically stating the denominator. The denominator shall be either the total population of events, see 4.1.1, (e.g., percentage of lymphocytes based on the total number of events) or another+T64 gate (e.g., percentage of CD4+ lymphocytes based on all lymphocytes). In case the denominator is another gate (filter) this shall also be exactly specified in recursive fashion so that the gating strategy can be followed up to the original data set. Draft Proposal for the MIFlowCyt Standard 11/12 Other descriptive statistics may be provided including the count of events, arithmetic mean, mode(s), median, coefficient of variation (CV), minimum value, maximum value, standard deviation, etc. 4.4. Data Transformation Description The analysis of flow cytometry data can include data and parameter transformations for statistical analyses and data interpretation. If data should be viewed using a transformed parameter (i.e., on a transformed scale), or if any analyses is performed subsequent to transformation, the transformation should be exactly described. Unfortunately, this information is not routinely provided by analytical software. We make this as a recommendation, not a requirement, until there are appropriate tools available. The Transformation-ML specification4 may be used to specify the transformations. Other details including specification of software (name, version, operating system) may be described if important for the particular data analyses.
57 | MI:570 | gel electrophoresis informatics |  |  | o 2D gels procedures: o Data acquisition:  Image acquisition software: (manufacturer, model, version)  Image acquisition parameters:  Raw data files: Image format {jpeg, TIFF, png}  FeatureExtraction software | 1. General features • Date stamp (as YYYY-MM-DD) • Responsible person or institutional role • Electrophoresis type • Electrophoresis context • Image(s) • Image analysis software • Statistical analysis software 2. Gel analysis design • Type • Replicates • Groups (not applicable on blind design) • Internal standard (only applicable for multiple labeled samples within a gel) • External standard 3. Image pre-processing • Type • Software 4. Image analysis pre-processing • Input image(s) • Type • Software 5. Data extraction process State the name of the data extraction process, including the steps and order. For the following possible processes, describe whenever used. • Input image(s) • Feature detection (either automatic or manual) o Algorithm name/version, parameters o Feature editing (yes/no, manually/automatically) • Matching o Algorithm name/version, parameters o Reference image used o Landmarks o Match editing (yes/no, manually/automatically) • Feature quantitation o Type o Quantitation o Background subtraction (algorithm name, version, parameters) if applicable o Normalization (description, algorithm name, version, parameters) if applicable 6. Data analysis Analysis protocol used, repeat the steps as necessary • Analysis intent • Software • Type • Parameters • Input data 7. Data reporting • List of image features • List of matches (if applicable) • Description of analysis results (if applicable)
58 | MI:580 | genetic linkage analysis
59 | MI:590 | image characterisation
60 | MI:600 | FT-IR spectroscopy informatics
61 | MI:610 | mass spectrometry informatics |  |  | o Mass Sprectrometry:  sample preparations:Gel origin (Gel ID, spot ID) o Data acquisition:  Raw data: peak list prior any peak identification  Peak lists in mzXML format. | 1. General features a) Global descriptors – Date stamp (as YYYY-MM-DD) refers to the date of the search – Responsible person (or institutional role if more appropriate); provide name, affiliation and stable contact information. – Software name, version and manufacturer – Summary of any customisations made to that software and availability of that software – Location of the files generated; parameter files, spectral data (input/output) – Description of Controls employed (when applicable) 2. Input data and parameters a) Input data – Type of spectra (raw data, peaklists) – Description of MS data (see MIAPE: MS) – MS data format (e.g. mzData, mzXML, PKL, MGF, DTA) b) Input parameters – Databases queried; description and versions (including number of entries searched) – Taxonomical restrictions applied – Description of tool and scoring scheme – Specified cleavage agent(s) – Allowed number of missed cleavages – Additional parameters related to cleavage – Permissible amino acids modifications – Precursor-ion and fragment ion mass tolerance for tandem MS (when applicable) – Mass tolerance for PMF (when applicable) – Thresholds; minimum scores for peptides, proteins (probabilities, number of hits, other metrics) – Any other relevant parameters 3. The output from the procedure a) For identified proteins – Accession code in the queried database – Protein description – Protein scores – Validation status – Number of different peptide sequences (without considering modifications) assigned to the protein – Percent peptide coverage of protein – Identity of supporting peptides – In the case of PMF, number of matched/unmatched peaks b) For identified peptides – Sequence (indicate any deviation from the expected protein cleavage specificity) – Peptide scores – Chemical modifications (artefactual) and post-translational modifications (naturallyoccurring); sequence polymorphisms with experimental evidence (particularly for isobaric modifications) – Corresponding spectrum locus – Charge assumed for identification and a measurement of peptide mass error – Other additional information, when used for evaluation of confidence c) Quantitation for selected ions – Experimental protocol (e.g. iTRAQ, ICAT, cICAT, COFRADIC) – Quantitation approach (e.g. integration of signals, use of signal intensity) – Data transformation and normalisation technique (description of method and software) – Number of replicates (biological and technical) – Acceptance criteria (including measure of errors) – Estimates of uncertainty and the methods for the error analysis, including the treatment of relevant systematic error effects and the treatment of random error issues Results from controls (when described) 4. Interpretation and validation – Assessment and confidence given to the identification and quantitation (description of methods, thresholds, values, etc,) – Results of statistical analysis or determination of false positive rate in case of large scale experiments – Inclusion/exclusion of the output of the software are provided (description of what part of the output has been kept, what part has been rejected)
62 | MI:620 | microarray informatics |  | 2) Image analysis and quantitation · image analysis software specification and version, availability, and the description or identification of the algorithm and all the parameters used · for each image the complete image analysis output (of the particular image analysis software) 3) Normalized and summarized data – gene expression data matrix data processing protocol, including normalization algorithm (for detailed recommendations, see http://www.mged.org/normalization) gene expression data table(s) derived from the experiment as the whole, derived measurement value summarizing related elements and replicates as used by the author (this may constitute replicates of the element on the same or different arrays or hybridizations, as well as different elements related to the same entity e.g., gene) providing a reliability indicator for each data point (e.g., standard deviation) is encouraged. Note that toxicology data may also be normalized to signal, foldchange ratios to facilitate comparison to similarlyexpressed microarray data (especially when 2fluor labelling has been used). | 2) Image analysis and quantitation · image analysis software specification and version, availability, and the description or identification of the algorithm and all the parameters used · for each image the complete image analysis output (of the particular image analysis software) 3) Normalized and summarized data – gene expression data matrix data processing protocol, including normalization algorithm (for detailed recommendations, see http://www.mged.org/normalization) gene expression data table(s) derived from the experiment as the whole, derived measurement value summarizing related elements and replicates as used by the author (this may constitute replicates of the element on the same or different arrays or hybridizations, as well as different elements related to the same entity e.g., gene) providing a reliability indicator for each data point (e.g., standard deviation) is encouraged. Note that toxicology data may also be normalized to signal, foldchange ratios to facilitate comparison to similarlyexpressed microarray data (especially when 2fluor labelling has been used).
63 | MI:630 | nmr spectroscopy informatics
64 | MI:640 | nucleic acid sequence assembly
x | MI:650 | phylogenetic analysis
x | MI:660 | population genetic analysis
x | MI:670 | QTL description & map
x | MI:680 | raw data
x | MI:690 | processed data
x | MI:700 | citations et alia |  |  | • Bibliographic Reference: Provide a detailed description of the associated publication (if any) covering: o Complete Author List o Publication details (name, web site, editor, publisher, volume, issue, pages, year) o Publication Type (specify whether it is a journal_article, a book chapter)
x | MI:710 | supporting data
| MI:720 | personnel | Source: Contact details of researcher/person in charge of the project (name, affiliation/institution, department, address, Email, etc.). |  | • Experiment Providers: list all authors of the study and Organisation taking part to the study. Provide detailed description including: o For Persons: Last Name, First Name, email address, telephone/fax, address, affiliation to Organization. o For Organizations: Name, Acronym spell out, address, Post Code, Country, URL, secretary contact.